| GENERAL WORK AREA |
| --- |
| 101 | To have floors free of obstructions, hazards and debris. | 11 |  |  |
| 102 | To have aisles, passageways and guardrails meet RIE requirements. | 13, 14 |  |  |
| 103 | To have platforms meet RIE requirements. | 19 |  |  |
| 104 | To have ladders in safe condition and used properly | 18, 19, 73 |  |  |
| 105 | To have stairs in safe condition with handrails | 17, 19 |  |  |
| 106 | To have doors and exits meet RIE requirements. | 16, 120 |  |  |
| 107 | To have walls and roofs meet RIE requirements. | OHSA 15, 25 (i)(e) |  |  |
| 108 | To have roadways and yards maintained to meet RIE requirements. | 45 (b)(i) |  |  |
| FACILITIES |
| 201 | To have adequate ventilation to meet RIE requirements. | 127, 128 |  |  |
| 202 | To have adequate lighting to meet RIE requirements. | 21 |  |  |
| 203 | To have adequate provisions in place to address noise exposure | 139 |  |  |
| 204 | To have adequate provisions in place to address air quality | CEBCA |  |  |
| MATERIALS |
| 301 | To have stacking and storage of materials meet RIE requirements. | 45 - 48 |  |  |
| 302 | To have chemicals and fuels handled/stored to meet RIE requirements | 22, 23 |  |  |
| 303 | Are compressed gas cylinders stored, handled and transported safely | 49, 66 |  |  |
| 304 | To have waste removal provisions in place which meet RIE requirements | 26, 126 |  |  |
| EQUIPMENT |
| 401 | To have hand and portable tools meet RIE requirements. | 39, 43, 44 |  |  |
| 402 | Is stationary equipment in safe condition and operated safely | 24-26, 29, 30, 34 |  |  |
| 403 | To have grinders meet RIE requirements | 29, 30 |  |  |

*Notes:	    RIE - Regulations for Industrial Establishments (Unless otherwise stated, section numbers are from here)

OH&S Act - Occupational Health and Safety Act     FAR - First Aid Regulation 1101    FCR - Fire Code Regulations

FFPA - Forest Fire Prevention Act     HTA R614 - Highway Traffic Act Regulation 614 on Securing Loads

GHC - Gasoline Handling Code under the Energy Act    TDG - Transportation of Dangerous Goods Act

** Hazard Classification:

A:   A condition or practice likely to cause permanent disability, loss of life or body part and/or extensive loss of structure, equipment or material.

B:   A condition or practice likely to cause serious injury or illness, resulting in temporary disability or property damage that is not extensive.

C:   A condition or practice likely to cause minor; non-disabling injury or illness or non-disruptive property damage.

| 404 | To have conveyors meet RIE requirements. | 33, 34 |  |  |
| --- | --- | --- | --- | --- |
| 405 | To have hydraulic power systems maintained in safe operating condition. |  |  |  |
| 406 | To have compressed air systems used and maintained in safe condition | 66 |  |  |
| GENERAL WORK AREA |
| 501 | To have electrical power systems meet RIE requirements. | 40 |  |  |
| 502 | To have all valves and mechanical equipment meet RIE requirements | 62 |  |  |
| HAZARD CONTROLS |
| 601 | To have lockout systems meet RIE requirements. | 76 |  |  |
| 602 | To have flammable liquids used and stored properly | 22, 23, 61 |  |  |
| 603 | To have an inventory of hazardous materials (WHMIS products) | OHSA 38 |  |  |
| 604 | To have WHMIS labels and current MSDS sheets in the workplace. | OHSA 37 |  |  |
| EMERGENCY SYSTEMS |
| 701 | To have emergency instructions that meet RIE requirements. | 122, 123 |  |  |
| 702 | To have fire protection (hoses, extinguishers, etc.) as required | FCR |  |  |
| 703 | To have first aid kits/stations which meet FAR requirements | FAR |  |  |
| 704 | To have eye baths and showers as required | 124, 125 |  |  |
| 705 | To have emergency rescue procedures and equipment in place | 69, 70 |  |  |
| PERSONAL PROTECTIVE EQUIPMENT COMPLIANCE |
| 801 | To have eye protection worn as required. | 81 |  |  |
| 802 | To have hearing protection worn as required. | 139 |  |  |
| 803 | To have head protection worn as required. | 80 |  |  |

*Notes:	    RIE - Regulations for Industrial Establishments (Unless otherwise stated, section numbers are from here)

OH&S Act - Occupational Health and Safety Act     FAR - First Aid Regulation 1101    FCR - Fire Code Regulations

FFPA - Forest Fire Prevention Act     HTA R614 - Highway Traffic Act Regulation 614 on Securing Loads

GHC - Gasoline Handling Code under the Energy Act    TDG - Transportation of Dangerous Goods Act

** Hazard Classification:

A:   A condition or practice likely to cause permanent disability, loss of life or body part and/or extensive loss of structure, equipment or material.

B:   A condition or practice likely to cause serious injury or illness, resulting in temporary disability or property damage that is not extensive.

C:   A condition or practice likely to cause minor; non-disabling injury or illness or non-disruptive property damage.

| 804 | To have hand protection worn as required. | 84 |  |  |
| --- | --- | --- | --- | --- |
| 805 | To have foot protection worn as required. | 82 |  |  |
| 806 | To have leg protection worn as required. | 84 |  |  |
| 807 | To have other PPE (aprons, safety belt, etc.) worn as required |  |  |  |
| OTHER |
| 901 | To have ergonomic controls in place to reduce MSD risk during material handling or machine operation. | 45 |  |  |
| 902 | To have maintenance and repairs conducted safely. | 72-78 |  |  |

*Notes:	    RIE - Regulations for Industrial Establishments (Unless otherwise stated, section numbers are from here)

OH&S Act - Occupational Health and Safety Act     FAR - First Aid Regulation 1101    FCR - Fire Code Regulations

FFPA - Forest Fire Prevention Act     HTA R614 - Highway Traffic Act Regulation 614 on Securing Loads

GHC - Gasoline Handling Code under the Energy Act    TDG - Transportation of Dangerous Goods Act

** Hazard Classification:

A:   A condition or practice likely to cause permanent disability, loss of life or body part and/or extensive loss of structure, equipment or material.

B:   A condition or practice likely to cause serious injury or illness, resulting in temporary disability or property damage that is not extensive.

C:   A condition or practice likely to cause minor; non-disabling injury or illness or non-disruptive property damage.